## Slide 1: Health and Safety
AMANDA Jackson
June 2026

## Slide 2: Objectives
Indicate health and safety legislation as it affects clinical and laboratory practice
State COSHH regulations
Outline the principals of risk assessment

## Slide 3: Health and Safety at Work Act 1974
Health and Safety at Work Act 1974 is the primary legislation covering occupational health and safety and the general responsibilities of employers and others either working at or visiting the workplace.
The Act is supported by various regulations that add detail to the general requirements.
The UK’s healthcare regulators also require suitable standards of quality and safety that patients have a right to expect when receiving care.

## Slide 4: Health & Safety Legislation
The Health & Safety at Work (NI) Order 1978
Management of Health and Safety at work Regulations (NI) 1992 updated 2000
Reporting of Injuries, Diseases and Dangerous Occurrences Regulations (NI) 1997
Control of Substances Hazardous to Health Regulations (NI) 2003
Health & Safety Information for Employees Regulations (NI) 1991
The Independent Health Care Regulations (NI) 2005
Notes: With the introduction of the ‘Management of H&S @ work regulations’ we now have a legal obligation to complete risk assessments.
With an amendment to legislation from 1st April 2011, places providing private dentistry must be registered with the RQIA

## Slide 5: Good Practice
Are you familiar with:-
The safety policy in your work place?
What the hazards are in your work place?
Where to find fire fighting equipment and first aid?
What safety rules you should abide by? i.e. the wearing of PPE
When Safety devices should be checked and maintained? i.e. oxygen cylinder
Who to report device defects to?
How to access/check alerts on drugs/devices?
Notes: The importance of:
documentation as proof of practice (if nothing else)
Not misusing equipment
Practising the art of good house

## Slide 6: H&S WHY?
Your employer has a duty by law, so far as is reasonably practicable, to ensure your H&S at work.
Your employer must consult you on matters relating to your H&S at work.
You have a responsibility to look after yourself
and
others.

## Slide 7
The Health and Safety at Work Act (HSW Act) seeks to protect all those at work – employers, employees and the self-employed, as well as those who might be affected by their work activities.
The Health and Safety Executive (HSE) is the lead inspection and enforcement body for health and safety matters involving employees, workers, visitors and contractors.
Alongside the legislation, national healthcare regulators describe the quality and safety standards that patients receiving care have a right to expect.

## Slide 8: Employers
Employers have a general duty to ensure (as far as reasonably practicable) the health, safety and welfare of employees, patients of the practice, self-employed contractors who might be on the premises and any visitors to the practice by:
Providing and maintaining safe equipment, appliances and systems of work
Safely storing and handling dangerous or potentially harmful substances (COSHH)
Maintaining the workplace in a safe condition
Providing a safe working environment with adequate welfare facilities
Providing training and supervision to allow employees to undertake their work duties safely and without risk to themselves or others.

## Slide 9
Employees must take reasonable care of their own and others’ health and safety and cooperate with the employer to implement the requirements of relevant legislation.
The duty of care extends to external contract workers (builders, engineers, for example) and to any sub-contractors. You must assess the risks involved with the task they have been engaged for. Check the contractor’s health and safety policies and procedures and risk assessment and make them aware of your health and safety procedures.

## Slide 10
The HSE can enter and inspect workplaces, as well as request information, interview people and take written statements.
Although dental practices are not subject to many routinely inspected, when these are undertaken, an inspector will usually make an appointment to avoid unnecessary disruption.
An inspection will usually involve an examination of the premises and equipment, focussing on anything with potential danger – for example, radiographic equipment, autoclaves, electrical appliances, and gas cylinders.
You are likely to be asked for evidence of safety checks (reports, certificates etc).

## Slide 11
Inspector
Improvement notice
Prohibition notice
Notes: If an inspector identifies a health and safety, risk, they will let you know what action you need to take. If there is a legislation breach, they can issue an improvement or prohibition notice or remove or destroy anything that is dangerous or might cause serious personal injury.
An improvement notice specifies what requirements are not being met, the action needed to put it right, and a timescale for doing so
A prohibition notice (if there is a risk of serious personal injury) prohibits an activity until remedial action has been taken

## Slide 12: Five or more employees: you must have a health and safety policy
H&S Policy
H&S responsibilities
Safe systems of work
statement of intent
Notes: A statement of intent – a declaration of your commitment to provide a safe and healthy workplace and environment
Details of responsibilities for health and safety throughout the workplace
Safe systems of work and safe working practices for all work activities.

## Slide 13: Practical Health & Safety
Benefits of a Health & Safety Folder:
Keeps all relative information together.
Can be used for induction of staff.
Easily accessible information.
Meets legal requirements.
Helpful guidance when incidents occur.
Notes: 1. All info should be together for practice inspections.
2. Do we adequately induct staff? If you do not document induction of staff and an incident occurs it is your word against theirs that the person was adequately informed.
3. Patient trips & falls: you may prevent legal action if handled correctly

## Slide 14: Health & Safety Folder
Sections for:
Information of legislation; including workplace policies e.g. waste disposal/ fire evacuation/ decontamination procedures
Risk assessments;
General, Manual handling, COSHH
Notes: Must have a general Health & Safety policy which is unique to each practice indicating nominated H&S person and who does what, when and how.

## Slide 15: Exercise
What is a Hazard?
What is a risk?

## Slide 16: Look for Hazards
Hazard is anything which can cause harm e.g. chemicals, electricity, uneven floor, etc.
Make a list to follow
Guidance can be sought from Health & Safety Executive (NI) www.hseni.gov.uk

## Slide 17: Evaluate the risks
The chance or likelihood that someone will be harmed in someway by the hazard.
Therefore, evaluate the risk each hazard poses so you can prioritise risks and concentrate on the most pressing first.

## Slide 18: Identify the hazard!
How is it done? - look at the environment
People – employees and clients
Procedures – clinical and non-clinical

## Slide 19: Risk assessment
A risk assessment is a systematic examination of work activities to identify what could go wrong and cause harm and whether adequate controls are in place. All staff and patients have a right to be protected from harm caused by a failure to implement reasonable control measures.
The Management of Health and Safety at Work Regulations 1999 require you to undertake an assessment of the risks in the workplace. Other specific regulations that require risk assessments to be carried out are referred to in the advice.

## Slide 20: Evaluate the risks and decide on precautions
For each significant hazard, you must decide if the level of risk is high, medium or low.
For example, the risk of infection from blood and/or saliva is high in dentistry but, if you follow current infection control guidelines (including recommended immunisations), the risk of infection should be low.
As well as complying with any legal requirements, consider what else you might do to lower any risks.

## Slide 21: Health and Safety (First-Aid) Regulations aid
Require all employers to provide adequate and appropriate first aid for all employees during working hours.
As a minimum, this will include: a suitably
Stocked first-aid kit
Named first-aider
Information for employees about first-aid arrangements
Notes: There is no mandatory list of items to include but, as minimum, you should have:
A general guidance leaflet on first-aid
20 individually wrapped sterile plasters (assorted sizes)
2 sterile eye pads
4 individually wrapped triangular bandages (preferably sterile)
6 safety pins
6 medium-sized individually wrapped sterile unmedicated wound dressings
At least 3 pairs of disposable gloves.

## Slide 22: Accidents
All accident information should be recorded in an accident book.
RIDDOR: Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013
If someone has died or has been injured because of a work-related accident, this may have to be reported under the Reporting of Injuries, Diseases and Dangerous Occurrences Regulations (RIDDOR).
Not all accidents need to be reported – a RIDDOR report is only required when:
The accident is work related and it results in a reportable injury
Ref: www.hse.gov.uk/riddow/typesofreportableincidents
Notes: Reportable injury: Any accident that causes death or serious life altering injuries such as amputation or causes absence for more that 3 / 7 days. Reportable occupational diseases include carpal tunnel syndrome, severe cramp, dermatitis, asthma, tendonitis or tenosynovitis of the hand or forearm, cancer, and any disease resulting from occupational exposure to a biological agent.
Dangerous occurrences include incidents involving lifting equipment, pressure systems, explosions, biological agents and radiography.

## Slide 23: Accidents
Reportable injuries include those that result in the individual being incapacitated for more than seven days, taken to hospital for treatment, fractures of larger bones, loss or impairment of sight, serious burns and loss of consciousness.
Reportable occupational diseases include carpal tunnel syndrome, severe cramp, dermatitis, asthma, tendonitis or tenosynovitis of the hand or forearm, cancer, and any disease resulting from occupational exposure to a biological agent.
Dangerous occurrences include incidents involving lifting equipment, pressure systems, explosions, biological agents and radiography.

## Slide 24: Risk Assessment
Categories:
COSHH
Manual handling
General

## Slide 25: Regulating medical devices in the UK
The Medicines and Healthcare products Regulatory Agency (MHRA) is the competent authority in the UK responsible for:
Ensuring medical devices meet safety, quality and performance standards
Ensuring secure supply lines for medicines and medical devices
Educating the public and healthcare professionals
Medical Devices

## Slide 26: Conformity assessment and CE marks
Medical devices that are freely available for sale must carry a CE mark to indicate that they satisfy EU quality requirements and are fit for their intended purpose.
Manufacturers must demonstrate that medical devices meet the requirements of the Medical Devices Directive by carrying out a conformity assessment by a notified body.
The assessment depends on the classification of the device, which reflects the degree of associated risk:
Class I – low-risk (includes dental instruments)
Classes IIa and IIb – medium-risk
Class III – high-risk
Medical Devices

## Slide 27: Custom-made devices
Dental appliances manufactured for individual patients in accordance with your written prescription are regarded as custom-made devices and do not require a CE mark.
The process for manufacturing of the device must meet the requirements of the Directive and be labelled clearly. You should check this and that the appliance manufacturer (usually a dental laboratory) has registered with the MHRA.
The name and address of the manufacturer, the name and address of the prescribing dentist and the patient’s name device should be included (via the packaging or prescription form, if necessary) together with the words ‘custom-made device’. The device should be accompanied by a statement of manufacture.
If you manufacture appliances for your patients or own a laboratory, you must comply with the requirements for custom-made devices and register with the MHRA.

## Slide 28: Statement of manufacture
Every custom-made device must have a statement of manufacture; you must keep a copy and offer a copy to the patient. If the patient does not take their copy of the statement, you should keep it with their records in case they ask for it later.
The statement of manufacture must include:
Name and address of the manufacturer
Information identifying the device (such as a description, serial number or order number)
A statement that the device is a custom-made dental appliance and intended for exclusive use by a named patient
Identity of the patient (their name or a reference number that allows them to be identified by authorised people)
Name of the dentist (or other qualified person) who prescribed the device and their practice name or place of work
The specific characteristics of the product as indicated by the prescription,
A statement that the device conforms to the essential requirements of the Medical Devices Directive

## Slide 29: Records
Manufacturers must keep records of the design and purpose of each custom-made devices that they produce. The MHRA and the patient can request these records, which should be kept for 15 years.
Examples
The following are examples of custom-made devices
Dental restorations (for example, crowns, bridges, veneers, onlays)
Dentures, full and partial
Orthodontic appliances and retainers
CAD/CAM (computer aided design and manufacture) generation of dental restorations, dentures and orthodontic appliances
Invisalign aligners (and similar)
Mouthguards for medical purposes – for example, bruxism.

## Slide 30: Impressions, prostheses and appliances
You are responsible for ensuring impressions, prostheses and appliances have been cleaned and disinfected prior to dispatch to the laboratory. You should agree the cleaning and disinfection process with the laboratory and label the device to indicate disinfected status.
This removes uncertainty and, for impressions, the possibility of repeated disinfection, which may affect quality.
Immediately after removal from the mouth, rinse the device under clean running water until it is visibly clean.
Disinfect the device using cleaning materials specified by the manufacturer, then rinse the device. This process should occur before and after any device is placed in a patient’s mouth.
If the device is to be returned to a supplier/ laboratory, a label to indicate that it has been disinfected should be affixed to the package.

## Slide 31: Electrical safety
Electrical equipment: Good working order; poor electrical installations and faulty electrical appliances can lead to fire, death or injury.
HSE guidance on the Electricity at Work Regulations describes basic safety measures to help you control the risks associated with electrical installations and appliances.
These include:
Providing training, where necessary, for those working with electrical equipment
Making sure the equipment is safe and maintained in a safe condition
Reducing the voltage to the lowest needed; battery-operated devices are safest
Using an RCD to detect faults in the electrical system and switching off the supply.
Electrical Equipment

## Slide 32: Fire
If you have some level of control over the practice premises, the Regulatory Reform (Fire Safety) Order 2005 requires you to take reasonable steps to reduce the risk from fire and to make sure that people can escape safely if there is a fire.
The Fire Safety Order applies to virtually all premises and covers almost every type of building, structure and open space.

## Slide 33: General fire precautions
A fire-detection warning system – this can range from a shouted warning to an electrical detection and warning system but it must be able to warn people in all circumstances and in all parts of the practice
Multipurpose fire extinguishers – one per 200m2 floor space and at least one on each floor sited near exit routes or near to the hazards they protect. There are four main types of portable fire extinguisher – water, powder, foam and carbon dioxide
Safe routes for people to leave the building – ideally there should be more than one escape route and people should have to travel the shortest possible distance to escape to a final exit and safe place. The escape route should be clear of obstruction and flammable material
Suitable fire exit doors that can be used without a key or specialist knowledge
Other considerations include the need for emergency lighting, fire-safety signs; training to help in the event of a fire; maintenance of fire safety systems.

## Slide 34: Manual Handling
Most common cause of injury at work, accounting for over a third of all workplace injuries.
The Manual Handling Operations Regulations require employers and employees to:
Avoid the need for manual handling, wherever possible
Assess the risk of injury from any manual handling that can’t be avoided, and
Reduce the risk of injury from hazardous manual handling, wherever possible
Notes: What sort of things can you do in your practice?

## Slide 35: COSHH Regulations (NI) 2003
Resource: www.hseni.gov.uk
COSHH (NI) A brief Guide to the Regulations.
Risk assessment simplified
(RIDDOR (NI) 1997)
Notes: All of the above found on Web site – Reporting Injuries, Diseases & Dangerous Occurrence Regulations.

## Slide 36: What is a hazardous substance?
A substance classified as dangerous to health under the ‘Chemicals Regulations (NI) 2002’. Usually has a warning label.
Substance with workplace exposure limits (HSE publications EH40/2005)
Biological agents (micro organisms)
Dust (per concentration level, as per regulations)
Any other substance which creates a risk to health (medicines, cosmetics).
Notes: You will need to request a safety data sheet from suppliers for these products to enable you to assess the risk.
Important not to over look biological agents as found in aerosol created by hand piece or dirty water in sink when manually washing.

## Slide 37: Prevent and/or control exposure
Where reasonably practicable, you should prevent exposure to hazardous substances – for example, by changing your process or activity so that it no longer requires the hazardous substance, substituting the substance with a safer one, or using it in a safer form (for example, using composite instead of amalgam).

## Slide 38: 8 Step Compliance
Assess the risk
Decide what precautions are needed
Prevent or adequately control exposure
Ensure control measures are used & maintained
Monitor the exposure
Carry out appropriate health surveillance
Prepare plans and procedures for accidents
Ensure employees are properly informed, trained, and supervised; Document.

## Slide 40: Safety Data sheets
Complicated? To find out about health risks and emergency situations use:
- Part 4 -8: tells about emergencies, storage, handling.
- Part 15: tells about dangers
Risk Phrase (R-phrase) found in section 15 is very important as it indicates how potentially dangerous a product is (e.g. if is carcinogenic)

## Slide 41: Symbol System
International symbols replaced the European symbols in 2009 – important to read the hazard statements.

## Slide 42: Anaesthetic gases
Nitrous Oxide for inhalation sedation
Concern in early stages of pregnancy
Workplace Exposure Limits (WELs) are not exceeded and, if necessary, undertake personal sampling.
Weekly safety checks:
- Working scavenging & ventilation equipment
- Staff adequately trained to use
- Manufacturers instructions followed
Sedation and Anaesthetic Gases
Notes: Depending on the work environment and the services provided, individuals may be repeatedly exposed to low concentration of anaesthetic gases. Anxiety about exposure tends to increase during pregnancy but there is no conclusive evidence of an increased risk of miscarriage or developmental defects in the foetus.

## Slide 43: Gas Cylinders
External Storage
External well ventilated store
Piped supply to point of use
Internal storage
Fire resistant enclosure
Well ventilated to outside
Keep stock low
Medical oxygen usually has a three-year shelf life and cylinders should be replaced or refilled

## Slide 44: Mercury and amalgam
Mercury
In any form is potentially hazardous, so unnecessary exposure should be prevented. General precautions include:
Training those working with mercury to follow safe handling procedures when dealing with mercury spills and disposing of contaminated materials
Using pre-proportioned amalgam capsules to reduce exposure and encourage safe handling, ensuring you comply with COSHH requirements
Good ventilation, preferably using a ventilation system that exhausts to the outside of the building or encouraging a fresh supply of air by opening a surgery window. Recycling conditioning systems are not recommended.
Amalgam being phased out 2034

## Slide 45: Hazardous substances
The Control of Substances Hazardous to Health Regulations 2002 (COSHH) protect workers against ill health and injury caused by exposure to hazardous substances and to eliminate or reduce their exposure. Hazardous substances include:
Biological agents (for example, blood and saliva)
Chemicals and products containing chemicals
Dusts, fumes, mists and vapours
Gases (for example, nitrous oxide)
Any other substance that could be hazardous to health (for example, latex).

## Slide 46: Look for the hazards
Look afresh at your practice and identify at what could reasonably be expected to cause harm. Concentrate on significant hazards that could result in serious harm or affect several people. Involve your staff; they may identify additional hazards.
Product labels and safety data sheets for chemical products, and manufacturers’ instructions for equipment will help you identify hazards and put risks into perspective.
Accident/incident and ill-health records may also be useful.

## Slide 47: Decide who might be harmed and how
Consider who might be affected by a hazard – including:
Those with disabilities, young workers, trainees, new and expectant mothers
Cleaners working outside normal working hours, often alone
Outside contractors and others who may not be in the practice all the time
Patients, especially children and older patients.

## Slide 48: Review your assessment
If you introduce new machinery, equipment, substances and procedures that could create new hazards, you must update your risk assessment.
You should also review your assessment periodically (say, annually) to ensure that precautions are still effective. The review provides a useful opportunity to remind staff of the hazards present and the precautions.

## Slide 49: Record your findings
You do not need to record your findings if you have fewer than five employees but a written record demonstrates that you have carried out a risk assessment and will help with future reviews. If you employ five or more people you must keep a written record and inform your staff of any significant findings and necessary precautions.
Your risk assessment must show that:
You made a proper check and identified who might be affected
You have dealt with obvious significant hazards and considered who might be affected
The precautions you have introduced have reduced the remaining risk to low.
Recap: Risk assessment

## Slide 50: Health & Safety Legislation
The Health & Safety at Work (NI) Order 1978
Management of Health and Safety at work Regulations (NI) 1992 updated 2000
Reporting of Injuries, Diseases and Dangerous Occurrences Regulations (NI) 1997
Control of Substances Hazardous to Health Regulations (NI) 2003
Health & Safety Information for Employees Regulations (NI) 1991
The Independent Health Care Regulations (NI) 2005
Notes: With the introduction of the ‘Management of H&S @ work regulations’ we now have a legal obligation to complete risk assessments.
With an amendment to legislation from 1st April 2011, places providing private dentistry must be registered with the RQIA